## Sheet1
2021-04-15 |  |  | Measured Force (N)
|  | Placement | 1 | 2 | 3 | 4 | 5
Force Applied (N)
|  | 4.9 | 2.794 | 2.743 | 2.794 | 2.845/2.794 | 2.794
|  | 4.9 | 2.794 | 2.743/2.794 | 2.794 | 2.794/2.845 | 2.794/2.743
|  | 2.45 | 2.743/2.794
2021-04-17
Measured Force (N)
|  | Placement | 1 | 2 | 3 | 4 | 5 |  | Starting: 2.794 N
Force Applied (N)
|  | 4.9 | 35.381 | 29.688 | 27.756 | 22.215 | 24.35
|  | 4.9 | 38.075 | 29.946 | 23.943 | 28.467 | 24.452 | [10 empty] | 6050 IMU
|  | 4.9 | 38.38 | 31.619 | 23.384 | 23.333 | 24.553
|  | 4.9 | 35.889 | 31.619 | 23.486 | 23.994 | 18.606 | [13 empty] | sensitivity set to +/- 16g --> 3
|  | 4.9 | 39.397 | 29.738 | 22.266 | 28.772 | 22.571 | [8 empty] | Scale | 3 | 3 | 0 | 0
|  | 4.9 | 35.076 | 32.229 | 23.841 | 26.993 | 21.249 | [9 empty] | accl_z | 2048
[16 empty] | Trial | 1 | 2 | 3
2021-04-27 | [16 empty] | around 2591 | 543 | around 20760 | 4376
|  | Trial | 1 |  | 2 |  | 3 |  | 4 | 5
|  | mass applied (g) | Ard Output minus offset (units: g??) | [8 empty] | 62353.518
|  | 0 | 0 |  | 0 |  | 0 |  |  |  |  | 62345.24
|  | 100 | 86.187 |  | 90.163 |  | 91.863 |  |  |  |  | 62353.088
|  | 200 | 177.775 |  | 190.174 |  | 185.601
|  | 300 | 306.708 |  | 288.848 |  | 276.724
|  | 400 | 403.859 |  | 385.075 |  | 378.592
|  | 500 | 476.767 |  | 482.259 |  | 478.028
|  | 400 | 389.146 |  | 395.314 |  | 393.845
|  | 300 | 288.679 |  | 298.15 |  | 290.064
|  | 200 | 194.591 |  | 199.976 |  | 194.835
|  | 100 | 102.106 |  | 94.922 |  | 97.52
|  | 0 | 11.858 |  | -7.096 |  | 3.112
|  | 500 |  |  |  |  | 478.869
2021-05-04
|  | Trial | 1 |  | 2 |  | 3 |  | 4 | 5 | 6
|  | mass applied (g) | Ard Output (new HX711_ADC library)
|  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
|  | 500 | 501.1 |  | 505.47 |  | 500.26 |  | 499.93 | 499.61 | 499.84
|  | 400 | 400.55 |  | 403.68 |  | 400.19 |  | 399.78 | 399.52 | 399.71
|  | 300 | 300.26 |  | 302.4 |  | 299.93 |  | 299.31 | 299.54 | 299.77
|  | 200 | 200.04 |  | 200.86 |  | 199.67 |  | 199.24 | 198.57 | 199.63
|  | 100 | 99.71 |  | 99.51 |  | 99.41 |  | 99.18 | 99.43 | 99.41
|  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
|  | 100 | 99.9 |  | 100.25 |  | 99.69 |  | 98.91 | 99.81 | 99.45
|  | 200 | 200.01 |  | 201.43 |  | 199.65 |  | 198.82 | 199.81 | 199.41
|  | 300 | 300.11 |  | 302.51 |  | 299.64 |  | 298.61 | 299.72 | 299.29
|  | 400 | 400.24 |  | 403.7 |  | 399.63 |  | 298.51 | 399.43 | 399.29
|  | 500 | 500.99 |  | 504.7 |  | 499.61 |  | 498.21 | 499.46 | 498.65
2021-05-17
|  | Trial | 1 |  | 2 |  | 3 |  | 4 | 5 | 6
|  | mass applied (g) | Ard Output (new HX711_ADC library)
|  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
|  | 100 | 89 |  | 100.12 |  | 100.03 |  | 99.88 | 99.75 | 98.26
|  | 200 | 176 |  | 200.03 |  | 200.08 |  | 200.22 | 199.35 | 198.55
|  | 500 | 445 |  | 497.87 |  | 500.91 |  | 500.39 | 499.49 | 501.04
|  | 1000 | 872 |  | 1001.85 |  | 1009.17 |  | 1005.79 | 1001.33 | 1004.5
|  | 1200 | 1070 |  | 1202.03 |  | 1207.47 |  | 1206.15 | 1201.82 | 1204.37
|  | 1500 | 1320 |  | 1501.36 |  | 1504.54 |  | 1507.83 | 1504.03 | 1507.19
|  | 1200 |  |  | 1201.41 |  | 1202.38 |  | 1216.02 | 1205.38 | 1205.41
|  | 1000 |  |  | 999.19 |  | 1001.86 |  | 1019.08 | 1003.52 | 1003.12
|  | 500 |  |  | 504.56 |  | 498.76 |  | 502.86 | 501.4 | 499.48
|  | 200 |  |  | 200.03 |  | 197.82 |  | 200.44 | 199.64 | 197.56
|  | 100 |  |  | 99.73 |  | 98.91 |  | 100.32 | 99.61 | 97.8
|  | 0 |  |  | 0 |  | 0 |  | 0 | 0 | 0
New Calibration
2021-05-20 | [9 empty] | 2021-05-23
|  | Trial | 1 |  | 2 |  | 3 |  | 4 | 5 | 6
|  | mass applied (g) | Ard Output (new HX711_ADC library)
|  | 0 | 0 |  | 0.13 |  | -0.26 |  | 0.07 | -0.32 | -0.22
|  | 100 | 92.31 |  | 91.63 |  | 92.48 |  | 93.6 | 104.71 | 105.41
|  | 200 | 183.54 |  | 183.6 |  | 184.86 |  | 187.55 | 210.32 | 210.99
|  | 500 | 460.71 |  | 461.03 |  | 462.99 |  | 467.93 | 527.67 | 527.94
|  | 1000 | 918.77 |  | 924.19 |  | 924.72 |  | 934.51 | 1055.34 | 1057.41
|  | 1200 | 1101.82 |  | 1104.3 |  | 1107.57 |  | 1119.88 | 1267.6 | 1268.48
|  | 1500 | 1388.41 |  | 1386.41 |  | 1386.25 |  | 1398.77 | 1584.65 | 1586.61
|  | 1200 | 1113.64 |  | 1107.02 |  | 1106.2 |  | 1119.41 | 1265.53 | 1268.72
|  | 1000 | 926.22 |  | 923.26 |  | 919.26 |  | 933.32 | 1054.61 | 1057.15
|  | 500 | 462.35 |  | 461.65 |  | 459.59 |  | 464.72 | 525.82 | 527.64
|  | 200 | 184 |  | 183.29 |  | 182.81 |  | 185.66 | 208.25 | 210.26
|  | 100 | 90.71 |  | 90.76 |  | 90.73 |  | 93.11 | 102.49 | 104.1
|  | 0 | -1.74 |  | -1.81 |  | -1.58 |  | 0 | -3.17 | -1.66
[7 empty] | read_1x_517 |  | read_1x | new setup | flipped
2021-09-07
|  | Trial | 1 |  | 2 |  | 3 |  | 4 | 5 | 6
|  | mass applied (g) | Ard Output (new HX711_ADC library)
|  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
|  | 100 | 100.15 |  | 99.93 |  | 96.1 |  | 99.62 | 99.57 | 99.06
|  | 200 | 199.96 |  | 200.01 |  | 197.6 |  | 199.35 | 199.11 | 198.06
|  | 500 | 500.43 |  | 500.09 |  | 497.34 |  | 499.18 | 499.26 | 495.77
|  | 1000 | 1000.89 |  | 1000.37 |  | 998.7 |  | 996.83 | 999.9 | 991.73
|  | 1200 | 1200.75 |  | 1201.47 |  | 1198.43 |  | 1190.75 | 1200.54 | 1190.15
|  | 1500 | 1500.34 |  | 1500.69 |  | 1499.18 |  | 1490.34 | 1502.55 | 1486.77
|  | 1200 | 1199.98 |  | 1199.95 |  | 1199.22 |  | 1190.39 | 1201.89 | 1188.77
|  | 1000 | 999.43 |  | 1000.07 |  | 999.8 |  | 990.53 | 1001.74 | 990.32
|  | 500 | 498.2 |  | 498.85 |  | 498.59 |  | 493.48 | 500.12 | 494.53
|  | 200 | 198.52 |  | 199.43 |  | 198.33 |  | 194.03 | 200.07 | 195.27
|  | 100 | 97.86 |  | 99.35 |  | 97.82 |  | 93.31 | 99.77 | 95.39
|  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
|  |  | read_1x |  | read_1x |  | read_1x |  | read_1x | read_1x
2021-10-07 | [11 empty] | note: | we are now using HX711_ADC.h
I need to update the main Grip code to reflect this change for the grip force load cell
|  | Trial | 1 |  | 2 |  | 3 |  | 4 | 5 | 6
|  | mass applied (g) | Ard Output (new HX711_ADC library)
|  | 0 | 0 |  | 0 |  | 0 |  | 0
|  | 100 | 99.16 |  | 97.84 |  | 102.14 |  | 90.92
|  | 200 | 198.62 |  | 198.4 |  | 197.98 |  | 193.43
|  | 300 | 300.96 |  | 297.71 |  | 302.15 |  | 291.41
|  | 400 | 400.08 |  | 397.9 |  | 398.45 |  | 383.72
|  | 500 | 500.73 |  | 498.16 |  | 501.4 |  | 493.81
|  | 400 | 399.51 |  | 397.71 |  | 416.71 |  | 389.23
|  | 300 | 299.04 |  | 297.27 |  | 313.25 |  | 300.44
|  | 200 | 201.64 |  | 196.94 |  | 204.73 |  | 205.57
|  | 100 | 100.77 |  | 97.31 |  | 105.81 |  | 90.74
|  | 0 | 0 |  | 0 |  | 16.94 |  | 0
|  |  | screwed on |  | screwed on |  | not |  | not
2021-10-12
|  | Trial | 1 |  | 2 |  | 3 |  | 4 | 5 | 6
|  | mass applied (g) | Ard Output (new HX711_ADC library)
|  | 0 | 0 |  | 0 |  | 0 |  | 0
|  | 100 | 104.339 |  | 99.509 |  | 116.038 |  | 100.273
|  | 200 | 209.654 |  | 199.187 |  | 223.548 |  | 195.129
|  | 500 | 469.037 |  | 497.775 |  | 530.571 |  | 486.685
|  | 1000 | 924.626 |  | 995.775 |  | 974.879 |  | 978.269
|  | 1200 | 1217.334 |  | 1194.949 |  | 1155.516 |  | 1176.208
|  | 1500 | 1383.687 |  | 1493.804 |  | 1553.23 |  | 1447.749
|  | 1200 | 1284.453 |  | 1194.713 |  | 1251.943 |  | 1186.903
|  | 1000 | 1078.558 |  | 995.267 |  | 1047.768 |  | 983.506
|  | 500 | 518.95 |  | 496.66 |  | 513.417 |  | 496.434
|  | 200 | 251.601 |  | 198.119 |  | 224.332 |  | 201.188
|  | 100 | 57.089 |  | 97.999 |  | 126.582 |  | 106.637
|  | 0 | 0 |  |  |  | 33.678 |  | 0
|  |  | new parts |  | screwed on |  | new parts |  | new parts flipped
2021-10-16
one old one new
|  | Trial | 1 |  | 2 |  | 3 |  | 4 | 5 | 6
|  | mass applied (g) | Ard Output (new HX711_ADC library)
|  | 0 | 0 |  | 0.001 |  | 0.148 |  | 0 | 0 | 0.036
|  | 100 | 74.422 |  | 84.292 |  | 90.106 |  | 90.238 | 98.018 | 99.961
|  | 200 | 186.689 |  | 187.607 |  | 180.598 |  | 174.618 | 192.56 | 197.785
|  | 500 | 470.61 |  | 491.15 |  | 487.825 |  | 517.516 | 494.099 | 495.206
|  | 1000 | 941.219 |  | 996.986 |  | 979.38 |  | 1014.783 | 992.754 | 982.43
|  | 1200 | 1138.939 |  | 1193.403 |  | 1158.876 |  | 1186.562 | 1189.764 | 1180.527
|  | 1500 | 1444.34 |  | 1498.427 |  | 1479.297 |  | 1500.861 | 1466.89 | 1473.216
|  | 1200 | 1156.39 |  | 1196.886 |  | 1174.717 |  | 1195.005 | 1184.917 | 1180.027
|  | 1000 | 970.341 |  | 1000.584 |  | 991.104 |  | 1007.38 | 984.494 | 987.893
|  | 500 | 467.891 |  | 499.277 |  | 485.309 |  | 503.933 | 491.012 | 491.118
|  | 200 | 164.035 |  | 192.602 |  | 186.932 |  | 210.3 | 197.353 | 199.081
|  | 100 | 63.782 |  | 106.568 |  | 96.702 |  | 108.509 | 98.516 | 95.9
|  | 0 | 0 |  | 14.889 |  | 4.425 |  | 16.341 | 0 | 0
[10 empty] | flipped | flipped
|  | one new one screw | [6 empty] | 2021-10-17
|  | Trial | 1 |  | 2 |  | 3 |  | 4 | 5 | 6
|  | mass applied (g) | Ard Output (new HX711_ADC library)
|  | 0 | 0.033 |  | 0.005 |  | 0.019 |  | 0 | 0 | 0.042
|  | 100 | 98.915 |  | 98.985 |  | 99.056 |  | 99.806 | 99.857 | 100.088
|  | 200 | 198.016 |  | 198.261 |  | 198.365 |  | 199.599 | 199.518 | 200.095
|  | 500 | 495.338 |  | 495.768 |  | 495.518 |  | 499.013 | 499.723 | 500.096
|  | 1000 | 991.157 |  | 991.554 |  | 991.633 |  | 998.589 | 1000.256 | 1000.219
|  | 1200 | 1189.441 |  | 1189.823 |  | 1190.132 |  | 1198.399 | 1200.296 | 1200.298
|  | 1500 | 1487.06 |  | 1487.516 |  | 1487.345 |  | 1498.329 | 1500.948 | 1501.201
|  | 1200 | 1189.111 |  | 1189.863 |  | 1189.851 |  | 1198.383 | 1200.184 | 1200.311
|  | 1000 | 990.614 |  | 991.429 |  | 991.554 |  | 998.414 | 999.872 | 999.984
|  | 500 | 495.191 |  | 495.825 |  | 495.003 |  | 497.946 | 498.669 | 499.861
|  | 200 | 197.125 |  | 197.667 |  | 198.086 |  | 198.33 | 199.561 | 199.919
|  | 100 | 97.698 |  | 99.043 |  | 98.703 |  | 99.078 | 99.195 | 99.627
|  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
[10 empty] | flipped | flipped
2021-10-17
both new
|  | Trial | 1 |  | 2 |  | 3 |  | 4 | 5 | 6
|  | mass applied (g) | Ard Output (new HX711_ADC library)
|  | 0 | 0 |  | 0 |  | 0.31 |  | 0.058 | 0.314 | 0.183
|  | 100 | 88.049 |  | 92.902 |  | 90.391 |  | 95.353 | 99.347 | 102.849
|  | 200 | 185.707 |  | 211.44 |  | 206.71 |  | 204.667 | 199.272 | 204.608
|  | 500 | 482.836 |  | 496.126 |  | 486.624 |  | 491.493 | 499.772 | 501.598
|  | 1000 | 952.65 |  | 1002.652 |  | 972.514 |  | 1014.003 | 1010.336 | 1012.768
|  | 1200 | 1176.42 |  | 1215.36 |  | 1196.572 |  | 1217.961 | 1196.99 | 1208.785
|  | 1500 | 1416.837 |  | 1493.673 |  | 1491.968 |  | 1419.261 | 1491.337 | 1511.59
|  | 1200 | 1180.025 |  | 1176.994 |  | 1195.334 |  | 1192.839 | 1214.609 | 1207.591
|  | 1000 | 998.033 |  | 989.96 |  | 980.497 |  | 996.359 | 1017.225 | 1012.85
|  | 500 | 482.56 |  | 510.655 |  | 492.016 |  | 508.782 | 507.691 | 503.613
|  | 200 | 128.056 |  | 196.916 |  | 197.035 |  | 210.626 | 206.24 | 196.701
|  | 100 | 50.654 |  | 105.601 |  | 89.633 |  | 100.247 | 108.239 | 95.554
|  | 0 | 0 |  | 10.199 |  | 0 |  | 0 | 9.279 | 0
[10 empty] | flipped | flipped
both screwed
|  | Trial | 1 |  | 2 |  | 3 |  | 4 | 5 | 6
|  | mass applied (g) | Ard Output (new HX711_ADC library)
|  | 0 | 0.001 |  | 0.007
|  | 100 | 99.709 |  | 99.82
|  | 200 | 199.416 |  | 199.573
|  | 500 | 498.82 |  | 498.934
|  | 1000 | 997.879 |  | 998.243
|  | 1200 | 1197.36 |  | 1197.919
|  | 1500 | 1496.825 |  | 1497.444
|  | 1200 | 1197.127 |  | 1197.762
|  | 1000 | 997.392 |  | 998.078
|  | 500 | 498.695 |  | 499.087
|  | 200 | 198.946 |  | 198.796
|  | 100 | 98.335 |  | 99.784
|  | 0 | 0 |  | 0
|  | Trial | 1 |  | 2 |  | 3 |  | 4 | 5 | 6
|  | mass applied (g) | stage 1 | [5 empty] | mass applied (g) | stage 2
|  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0.003 | 0.003
|  | 100 | 99.465 |  | 99.769 |  | 100.011 |  | 100 | 100.098 | 99.931
|  | 200 | 199.062 |  | 199.811 |  | 200.366 |  | 200 | 200.266 | 200.182
|  | 100 | 99.405 |  | 99.441 |  | 100.065 |  | 500 | 500.701 | 500.344
|  | 200 | 199.114 |  | 199.385 |  | 199.639 |  | 200 | 199.988 | 199.988
|  | 100 | 98.643 |  | 99.262 |  | 100.147 |  | 100 | 99.621 | 100.024
|  | 200 | 197.284 |  | 199.014 |  | 199.894 |  | 0 | 0 | 0
|  | 100 | 96.985 |  | 98.354 |  | 99.526 |  | 100 | 99.141 | 99.754
|  | 0 | 0 |  | 0 |  | 0 |  | 200 | 199.406 | 200.02
[9 empty] | 500 | 499.247 | 499.567
[9 empty] | 200 | 199.124 | 199.677
[9 empty] | 100 | 97.958 | 98.66
[9 empty] | 0 | 0 | 0
|  | Trial | 1 |  | 2 |  | 3 |  | 4 | 5 | 6 | 5 | 6 | 5 | 6
|  | mass applied (g) | stage 3 |  |  |  | stage 4 |  |  | stage 5 |  | stage 6 |  | stage 7
|  | 0 | 0.007 |  | 0 |  | 0 |  | 0 | 0.001 | 0 | 0.169 | 0.489 | 0.054 | 0.051
|  | 100 | 100.1 |  | 99.993 |  | 100.061 |  | 100.002 | 100.039 | 100.266 | 76.898 | 74.374 | 94.054 | 92.483
|  | 200 | 200.107 |  | 200.328 |  | 199.974 |  | 200.311 | 200.629 | 200.17 | 145.801 | 142.195 | 191.279 | 183.461
|  | 500 | 500.456 |  | 500.919 |  | 500.63 |  | 500.434 | 500.676 | 500.702 | 382.142 | 432.516 | 474.217 | 450.965
|  | 200 | 199.412 |  | 200.123 |  | 199.783 |  | 199.606 | 199.869 | 199.719 | 163.974 | 196.841 | 202.881 | 181.987
|  | 100 | 98.567 |  | 99.327 |  | 99.665 |  | 98.53 | 99.5 | 99.514 | 94.329 | 129.145 | 109.803 | 90.18
|  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 16.44 | 53.855 | 16.564 | 0
|  | 100 | 98.941 |  | 99.25 |  | 99.411 |  | 99.63 | 99.462 | 99.455 | 91.571 | 126.901 | 106.357 | 90.026
|  | 200 | 197.909 |  | 198.998 |  | 198.956 |  | 198.601 | 199.767 | 199.955 | 160.999 | 196.781 | 203.801 | 180.895
|  | 500 | 498.63 |  | 500.512 |  | 499.301 |  | 500.472 | 501.87 | 500.067 | 383.948 | 416.2 | 482.628 | 450.476
|  | 200 | 199.86 |  | 199.105 |  | 198.045 |  | 197.236 | 199.643 | 199.774 | 160.564 | 201.81 | 208.539 | 188.874
|  | 100 | 97.983 |  | 99.027 |  | 99.123 |  | 98.63 | 99.383 | 98.665 | 91.974 | 131.239 | 118.535 | 94.102
|  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 13.497 | 55.052 | 25.085 | 1.464
|  | Trial | 1 |  | 2 |  | 3 |  | 4 | 5 | 6 | 7 | 8
|  | mass applied (g) | cut
|  | 0 | 0 |  | 0.112 |  | 0.048 |  | 0.018 | 0
|  | 100 | 97.893 |  | 100.602 |  | 101.025 |  | 100.355 | 100.242
|  | 500 | 497.852 |  | 499.221 |  | 498.314 |  | 500.863 | 501.299
|  | 100 | 101.474 |  | 98.891 |  | 100.22 |  | 100.179 | 100.181
|  | 0 | 1.198 |  | 0 |  | 0.034 |  | 0 | 0
|  | 100 | 100.937 |  | 95.901 |  | 100.32 |  | 99.77 | 100.024
|  | 500 | 485.937 |  | 499.631 |  | 501.065 |  | 500.208 | 500.651
|  | 100 | 100.229 |  | 96.209 |  | 100.259 |  | 99.709 | 100.339
|  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 100 |  |  |  |  | 100.365 |  | 99.526 | 100.116
|  | 500 |  |  |  |  | 501.184 |  | 500.772 | 501.05
|  | 100 |  |  |  |  | 100.238 |  | 99.192 | 99.547
|  | 0 |  |  |  |  | 0 |  | 0 | 0
2021-12-28 | wire check
|  | Trial | red wire resistance (Ω) |  | black wire resistance
|  | 1 | 2.4 |  | 0
|  | 2 | 6.6 |  | 0
|  | 3 | 5.9 |  | 0
|  | 4 | 5.9 |  | 0
5
6
7
8
2022-01-04 | LCFD-50 Load Cell
|  | Trial | 1 |  | 2 |  | 3 |  | 4
mass applied (g)
|  | 0 | 0 |  | 0 |  | 0 |  | 0
|  | 100 | 100.19 |  | 100.2 |  | 100.01 |  | 99.98
|  | 200 | 200.23 |  | 200.21 |  | 200.3 |  | 199.54
|  | 500 | 500.6 |  | 500.76 |  | 500.66 |  | 499.55
|  | 1000 | 1001.65 |  | 1000.43 |  | 1001.35 |  | 999.23
|  | 500 | 500.41 |  | 500.5 |  | 500.5 |  | 500.1
|  | 200 | 200.1 |  | 200.11 |  | 200.21 |  | 199.37
|  | 100 | 99.97 |  | 99.88 |  | 99.84 |  | 98.7
|  | 0 | 0 |  | 0 |  | 0 |  | 0
2022-01-05 | LCFD-50 Load Cell
|  | Trial | 1 |  |  | 2
|  |  | Scale | LC | Diff | Scale | LC | Diff
|  | Grams | 2289 | 2300 | -11 | 2480 | 2500 | -20
|  |  | 5069 | 5094 | -25 | 3918 | 3935 | -17
|  |  | 7644 | 7686 | -42 | 6386 | 6416 | -30
2021-01-05 | LCFD-50 Load Cell
|  | Trial | 1 |  | 2 |  | 3
mass applied (g)
|  | 0 | 0 |  | 0 |  | 0
|  | 100 | 102.61 |  | 93.17 |  | 103.89
|  | 200 | 201.42 |  | 198.56 |  | 201.45
|  | 500 | 476.05 |  | 461.39 |  | 496.96
|  | 1000 | 999.13 |  | 962.66 |  | 1015.08
|  | 500 | 494.81 |  | 456.76 |  | 491.32
|  | 200 | 190.02 |  | 172.53 |  | 211.3
|  | 100 | 93.35 |  | 63.55 |  | 107.49
|  | 0 | 0 |  | 0 |  | 0.51
2021-01-05 | LCFD-50 Load Cell
|  | Trial | 1 |  |  | 2
|  |  | Scale | LC | Diff | Scale | LC | Diff
|  | Grams | 3480 | 3067 | 413 | 2881 | 3211 | -330
|  |  | 4875 | 5236 | -361 | 5953 | 6668 | -715
|  |  | 7134 | 7607 | -473 | 6960 | 7787 | -827
2022-01-09 | Futek Load Cell
no change in voltage when load is applied
regulator works at times but then does not
2022-01-15 | Futek Load Cell
|  | PSU 10.5V, Sensor connected directly to Arduino |  |  |  |  | PSU 6V connected to booster, sensor connected to arduino |  |  |  |  | PSU 6V connected to booster, sensor connected to pcb, pcb connected to arduino
voltage booster was outputting 10.7 V initially, no change in value
2022-01-22 | Futek Load Cell
|  | Output Voltage (V) | Load (kg) |  |  |  | Output Voltage (V)
|  | 0 | 0
|  | 0.4573 | 1.18
|  | 0.889 | 2.25
|  | 1.2926 | 3.25
|  | 1.6156 | 4.05
|  | 1.8153 | 4.55
|  | 2.205 | 5.515
|  | 2.4075 | 6.015
|  | 2.61 | 6.515
|  | 2.7321 | 6.815
|  | 3.0224 | 7.53
|  | 3.2741 | 8.155
|  | 3.023 | 7.53
|  | 2.7358 | 6.815
|  | 2.6138 | 6.515
|  | 2.412 | 6.015
|  | 2.2084 | 5.515
|  | 1.8182 | 4.55
|  | 1.6162 | 4.05
|  | 1.2938 | 3.25
|  | 0.8895 | 2.25
|  | 0.4589 | 1.18
|  | 0 | 0
2022-01-23 | LCFD-50 Load Cell
|  | Trial | 1 |  |  | 2
|  |  | Scale | LC | Diff | Scale | LC | Diff
|  | Grams | 4556.6667 | 4554.8 | 1.8667 | 2856.6667 | 2847.91 | 8.7567
|  |  | 6485 | 6493.23 | -8.23 | 3976.6667 | 3979.2 | -2.5333
|  |  | 7961.6667 | 7971.8 | -10.1333 | 5501.6667 | 5505.8 | -4.1333
2022-01-30 | LCFD-50 Load Cell
2022-01-30 | Futek Load Cell
2022-02-09 | Weight Compartment
| Option 1: | https://www.amazon.com/Eisco-Stainless-Slotted-Masses-Hanger/dp/B01EI61QYK/ref=cm_cr_arp_d_product_top?ie=UTF8 | [9 empty] | Option 2: | https://www.amazon.com/Case-Club-Customizable-Polyethylene-Foam/dp/B08ZJYWNBQ/ref=sr_1_4?crid=3FKDY9ABHJ0VI&keywords=foam&qid=1644429037&rnid=2941120011&s=industrial&sprefix=foam%2Caps%2C132&sr=1-4&th=1
2022-02-15 | Futek Load Cell
2022-02-19 | Futek Load Cell